Republic of the Philippines

Department of the Interior and Local Government

BUREAU OF FIRE PROTECTION

(Region)

(District/Province Office)

(Station)

(Station Address)

(Telephone No./Email Address)

{CONTROL_NUMBER}

{CLEARANCE_DATE}

FSCFTIF NO.  R10-STN5-

DATE

FIRE SAFETY CLEARANCE

FUMIGATION & THERMAL INSECTICIDAL FOGGING

TO WHOM IT MAY CONCERN:

{NAME_OF_BUILDING}

By virtue of the provisions of RA 9514 otherwise known as the “Fire Code of the Philippines of 2008” and its Revised Implementing Rules and Regulations (RIRR), this Clearance is hereby issued to ____________________________________________________,

{ADDRESS}

(Name of Building/Facility/Structure)

located at  ____________________________________________________________________

{OWNER}

(Address)

owned by ________________________________________________ for Fumigation & Thermal

(Name of Owner)

Insecticidal Fogging to be conducted by _____________________ at _____________________ from  _________________________________________________. With the condition that all of

(Indicate the duration of operation, time and date)

the following requirements of the Fire Code and precautionary measures shall be complied by the owner and his/her authorized operator, to wit;

- Exclusion of all sources of ignition within the area before and during operation;

- Electricity shall be shut off during operations, except where circulating fans are used. Such equipment shall be designed and installed in accordance with the latest edition of Philippine Electrical Code (PEC);

- Providing supervision watch personnel within 3 to 5 hours from the time of operation up to its completion;

- Proper sealing of building during operation;

- Provide conspicuous warning signs bearing the “skull and crossbones” black emblem with the words “Danger Poison Gas! Keep Out!” printed in red ink on white background, letters must be 2 inches in height to be posted on all entrance, access and exit doors of the building;

- Vacating the building or premises of at least 2 to 3 hour before the operation begins and re-entry is strictly not allowed which will also include in the context of warning sign;

- Proper venting and clean up and waste disposal after operation;

- No thermal insecticidal 38°C shall be used and the use of Carbon Disulfide and Hydrocyanic Acid are not permissible;

- No fogging shall be blasted directly against any combustible materials or object within 3 meter therefrom;

- The contractor shall provide at least one (1) unit of 20lbs Dry Chemical fire extinguisher and medical first-aid kit during the fumigation in the area; and

- The Person-In-Charge in the operation shall notify the fire station having jurisdiction before and after the activities.

Violation of provisions of RA 9514 shall cause this Clearance NULL AND VOID after appropriate proceeding and shall hold the owner and his/her installer/contractor liable to the penalties provided under RA 9514.

{CLEARANCE_VALIDITY}.

This clearance is valid until

Date      Month      Year

Fire Code Fees:					     RECOMMEND APPROVAL:

{CHIEF}

CHIEF_POSITION

Amount Paid: ₱ {OR_AMOUNT}

O.R. Number:   {OR_NUMBER}

Date: {OR_DATE}

APPROVED:

{FIRE_MARSHAL}

CITY/MUNICIPAL FIRE MARSHAL

PAALALA: “MAHIGPIT NA IPINAGBABAWAL NG PAMUNUAN NG BUREAU OF FIRE PROTECTION SA MGA KAWANI NITO ANG MAGBENTA O

DISTRIBUTION:

Original  (Applicant/Owner’s Copy)

Duplicate (BFP Copy)

MAGREKOMENDA NG ANUMANG BRAND NG FIRE EXTINGUISHER”

“FIRE SAFETY IS OUR MAIN CONCERN”

BFP-QSF-FSED-041 REV.02 (08.24.20)